REQUEST FOR PROPOSALS

RFP 2026 – 0319-001

The Board of County Commissioners will receive sealed proposals for HVAC System Replacement (25 Ton) – Morgan County Department of Human Services until 4:00 p.m. MST, Wednesday, March 18, 2026 at the office of the County Commissioners, 218 West Kiowa Ave, Fort Morgan, Colorado.  All responses will be publicly opened and read aloud 9:00 a.m. MST, Thursday, March 19, 2026.  Location of proposal openings will be at 231 Ensign, Fort Morgan, Colorado, Assembly Room, basement of the Administration Building.  Vendors and/or the public will be able to view RFP opening via a Zoom meeting.  Details will be posted on the county website at:  https://morgancounty.colorado.gov/bids-and-proposals.

The RFP is on file in the office of Administrative Services Department at 218 West Kiowa Avenue, Fort Morgan, CO and also on the Morgan County Website at www.co.morgan.co.us.

All Proposals can be submitted as follows:

- Email – Proposals may be emailed to: bccadmin@co.morgan.co.us. Emailed proposals must include the following statement on the email: “I hereby waive my right to a sealed proposal”.  An email confirmation will be sent when the County receives the proposal within 24 hours of normal business hours.

- Hand delivery - Two (2) copies of the proposal may be hand delivered to the Office of the Board of County Commissioners, 218 W. Kiowa Ave. Fort Morgan, CO  80701.

- Mail -   All proposals must be clearly marked on the envelope RFP 2026-0319-001

Please address as follows:

Morgan County

Attn: Administrative Services Manager

218 W Kiowa Ave

Fort Morgan, CO  80701

Morgan County is inviting you to a scheduled Zoom meeting.

Topic: RFP 2026-0319-001

Time: Feb 17, 2026 12:00 PM Mountain Time (US and Canada)

Join Zoom Meeting

https://us02web.zoom.us/j/81388993851

Meeting ID: 813 8899 3851

One tap mobile

+17193594580,,81388993851# US

+16699009128,,81388993851# US (San Jose)

Join instructions

https://us02web.zoom.us/meetings/81388993851/invitations?signature=D9dBs_HmsIMiYULTRGtgKt5gy2PpVFDETWEsawiRHTA

_____________________________

Executive Administrative Assistant

Morgan County, Colorado

TABLE OF CONTENTS

PROPOSAL INFORMATION DOCUMENTS

Requests for Proposal								Page   1-2

Table of Contents								Page   3

General Instructions to Responders				     		Page   4-6

WORK DOCUMENTS

Specific Project Requirements						Page   7-8

Reply Form									Page   9

Responder References Form							Page   10-11

GENERAL INSTRUCTIONS AND PROPOSAL REQUIREMENTS

- A proposal is a responsive, conforming, unconditional, complete, legible, and properly executed offer by a responder to provide the product/service specified in the Request for Proposal (RFP) for the compensation specified.

- Responses shall be clearly marked with the RFP 2026-0319-001, Company Name, contact person, mailing address, telephone number of the responder, and contact email address.

- All proposals submitted must include two (2) copies of the following documents: Completed Proposal Reply Form, Completed Project Schedule,, References Form, and be accompanied by a bid bond, described below.  Failure to submit all required documents may result in rejection of the proposal.

- Any responder must attend the mandatory pre-bid site visit on March 12, 2026 at 10:00 am.  Failure to attend may result in rejection of the response.

- All proposals must be accompanied by a bid bond made payable to the County in an amount of five percent (5%) of the responders total proposed price, and in the form of a certified check, bank check, or a bid bond issued by a surety contingent upon award.  Upon award, such bid bonds shall be returned to the unsuccessful responder(s).  For the successful responder, the bid bond will be returned upon receipt of the required payment and performance bond, in the full amount of the contract price within the period of the notice of award.  Failure to return executed contracts and required payment and performance bond within the deadline stated in the notice of award will result in forfeiture of the bid bond.

- It shall be the responsibility of the responder to ensure that the proposal is in proper form and in the County’s possession on or before the time and date designated in the RFP.  Proposals will not be accepted after the designated time and date.  Any proposal received late will be returned to the responder unopened, if possible.

- If a mistake is made or discovered during or after the County’s review of proposals, the County reserves the right to determine which party made the mistake and whether the mistake is material and, after these determinations, the County, in its sole reasonable discretion, shall decide whether to accept or reject the proposal.  No advantage shall be taken by any party of manifest clerical errors or omissions in any proposal.  Responders shall notify the County immediately of any errors or omissions that are encountered.

- Any item which does not meet all of the terms, conditions, or specifications of this package must be clearly indicated in the exceptions section of the Proposal Reply Form.  It may also be on a separate sheet of paper and returned with the proposal.

- The County shall not reimburse any responder for any cost incurred in preparing a proposal or attending equipment demonstrations, inspections, pre-proposal conferences, or interviews.

- Any amplification, clarification, explanation, interpretation, or correction of a response shall be made only by written addendum, and a copy of the addendum shall be mailed or delivered to each person receiving an RFP.  The County is not responsible for any amplification, clarification, explanation, interpretation or correction of a proposal not contained in written addenda.

- Proposals by corporations shall be executed in the corporate name by the president or a vice-president (or a corporate officer accompanied by evidence of authority to sign), and the corporate seal shall be affixed and attested by the secretary or an assistant secretary.  The corporate address and state of incorporation shall be shown.  Proposals submitted by partnerships shall be executed in the partnership name and signed by a partner, and the legal address of the partnership shall be shown.  Proposals submitted by limited liability companies shall be executed in the company's name and signed by a member, and the legal address of the company shall be shown.  Names and titles shall be typed or printed below each signature.

- Morgan County may grant a 5% preference to local businesses.  A local business shall be a business which maintains a physical place of business in Morgan County.

- No proposal shall include federal excise taxes or state or local sales or use taxes.

- Each proposal shall include a statement of standard warranty of the manufacturer if applicable.

- Any response received as a result of this request is prepared at the responder’s expense and becomes County property.  Proposals are public records under Colorado Open Records Act.  If responder considers any information confidential, responders shall mark such information as “Confidential”.

- By submitting a proposal, the responder acknowledges that (a) the preparation of the proposal, and other quotations herein contained, does not obligate the County in any way;; (b) all aspect of the RFP and project are understood; and (c the responder has the ability to deliver the product/equipment/service as specified herein in accordance with the RFP.

- No proposal may be withdrawn for a period of sixty (60) days after the deadline for proposals.

- The County reserves the right, if it deems such action to be in its best interests, to reject any and all proposals, or to waive any irregularities or informalities therein.  The County may also accept specific components or schedules of an overall proposal and reject other components or schedules.  Any incomplete, false, or misleading information provided by any responder shall be grounds for rejection of the proposal.  If proposals are rejected, the County further reserves the right to investigate and accept the next best proposal in order of ranking, or to reject all proposals and re-solicit for additional proposals.

- The County reserves the right to determine, in its sole reasonable discretion, whether any proposal meets the needs or purposes intended and is within the approved budget.  The County does not base its award on price alone.  Other factors considered, depending on the needs of the County and the scope of the RFP, may include:  quality of product; past experience with the responder or any subcontractors, consultants, products or suppliers; qualifications of the responder and/or subcontractors or suppliers; services offered; warranties; maintenance considerations; long-range costs; delivery; Long-term service capability; technical approach; schedule and phasing plan; safety and quality control;  and similar conditions. The County reserves the right to conduct such investigations as it deems necessary to assist in the evaluation of any proposal to establish the experience, responsibility, reliability, references, reputation, qualifications, or financial ability of any responder, manufacturer or supplier.  The purpose of such investigation is to satisfy the County that the responder can supply the specified product/service and to perform the necessary warranty and product support in accordance with the RFP in the prescribed manner and time.

- In the event of any claim, suit, or demand which may result from any proposal, or the award of any contract as a result of submission of a proposal, Colorado law shall govern any such claim, suit, or demand and the rights and duties of the parties.

Specific Project Requirements

HVAC System Replacement (25 Ton) – Morgan County Department of Human Services

- INVITATION

Morgan County is requesting proposals from qualified, licensed HVAC contractors to furnish all labor, materials, equipment, supervision, and coordination necessary to remove and replace one (1) existing HVAC unit with a new 25-ton commercial HVAC system at the Morgan County Department of Human Services Building.

- PROJECT OVERVIEW

- Project: Replacement of existing HVAC system

- Unit Size: Approximately 25 tons

- Location: Morgan County Department of Human Services Building

- Scope: Turn-key removal and replacement, including all associated components, reconnection of controls, start-up, testing, and commissioning.

Contractor shall provide a complete, fully operational HVAC system meeting or exceeding all applicable codes, standards, and performance requirements.

- SCOPE OF WORK

The successful contractor shall provide, at a minimum:

- Removal and proper disposal of existing HVAC equipment

- Furnishing and installation of new 25-ton commercial HVAC unit

- Ductwork transitions and modifications as required

- Electrical connections and upgrades as required

- Refrigerant piping and insulation

- Sensors and accessories as required

- Controls reconnection and integration:
Contractor shall disconnect, protect, and fully reconnect all existing HVAC control systems, including thermostats, sensors, actuators, and any Building Automation System (BAS) or Energy Management System connections. The new unit must be fully integrated with existing controls and verified operational.

- Testing, balancing, and commissioning of the system

- Start-up and operational training for Morgan County personnel

- Final inspections and permits

Contractor is responsible for all field measurements, verification of existing conditions, and coordination of work prior to submitting a proposal.

- TECHNICAL REQUIREMENTS

The proposed HVAC system must:

- Be new, unused, commercial-grade equipment

- Meet or exceed all applicable ASHRAE, EPA, OSHA, and local/state building codes

- Comply with all federal and state energy efficiency standards

- Include full manufacturer warranties and a minimum one-year contractor workmanship warranty

- Be compatible with existing electrical, duct, and control systems (or include all necessary upgrades in the proposal)

- The new HVAC unit shall be reconnected and integrated into the existing control system, ensuring proper communication, scheduling, alarms, and system operation.

- PROPOSAL REQUIREMENTS (in addition to general requirements)

- Project approach and schedule (start date, substantial completion, final completion)

- Proof of insurance:  Commercial General Liability insurance with minimum combined single limits of one million dollars ($1,000,000) each occurrence and one million dollars ($1,000,000) general aggregate.

- Itemized cost proposal

PROPOSAL REPLY FORM

Name and Address of Responder:

Name of Company________________________________________________________

Address of Company______________________________________________________

City_____________________  State_________________  Zip Code __________________

Phone Number_________________________ Fax Number_______________________

Representative (Print Name) _____________________________ Title__________________________

Signature_______________________________________________________________

Email___________________________________________________________________

Summary of Project Components (Must be Provided in this Form):

| Line Item | Description | Cost |
| --- | --- | --- |
| 1 | Removal and disposal of existing unit | $ |
| 2 | New 25-ton HVAC unit | $ |
| 3 | Structural modifications | $ |
| 4 | Refrigerant piping and insulation | $ |
| 5 | Ductwork modifications | $ |
| 6 | Electrical connections and upgrades | $ |
| 7 | Controls reconnection, programming, and commissioning | $ |
| 8 | Start-up, testing, and balancing | $ |
| 9 | Permits and inspections | $ |
| Total Project Cost |  | $ |

*Attach a separate sheet outlining any exceptions to this bid.  If Any

**Attach a separate sheet outlining any warranty for the work completed.  If Any

REFERENCES

Please provide a list of at least three references for similar work completed by your company over the last three years.

Reference 1.    Contact Information

Company or Entity_______________________________________

Contact Person___________________________________________

Contact Address__________________________________________

Contact City/State/Zip_____________________________________

Contact Phone Number____________________________________

Contact E-Mail Address___________________________________

Year Work was performed__________

Type of Work Completed________________________________________________________

______________________________________________________________________________

Location of Completed Work_____________________________________________________

______________________________________________________________________________

Size & Scope of Work:

Up to $100,000			_____

$100,000-$250,000		_____

$250,000-$500,000		_____

$500,000-$1,000,000		_____

Over $1,000,000		_____

Reference 2.    Contact Information

Company or Entity________________________________________

Contact Person___________________________________________

Contact Address__________________________________________

Contact City/State/Zip_____________________________________

Contact Phone Number____________________________________

Contact E-Mail Address___________________________________

Year Work was performed__________

Type of Work Completed________________________________________________________

Location of Completed Work_____________________________________________________

______________________________________________________________________________

Size & Scope of Work:

Up to $100,000			_____

$100,000-$250,000		_____

$250,000-$500,000		_____

$500,000-$1,000,000		_____

Over $1,000,000		_____

REFERENCES

Reference 3.    Contact Information

Company or Entity_______________________________________

Contact Person___________________________________________

Contact Address__________________________________________

Contact City/State/Zip_____________________________________

Contact Phone Number____________________________________

Contact E-Mail Address___________________________________

Year Work was performed__________

Type of Work Completed________________________________________________________

______________________________________________________________________________

Location of Completed Work_____________________________________________________

______________________________________________________________________________

Size & Scope of Work:

Up to $100,000			_____

$100,000-$250,000		_____

$250,000-$500,000		_____

$500,000-$1,000,000		_____

Over $1,000,000		_____

Reference 4.    Contact Information

Company or Entity________________________________________

Contact Person___________________________________________

Contact Address__________________________________________

Contact City/State/Zip_____________________________________

Contact Phone Number____________________________________

Contact E-Mail Address___________________________________

Year Work was performed__________

Type of Work Completed________________________________________________________

Location of Completed Work_____________________________________________________

______________________________________________________________________________

Size & Scope of Work:

Up to $100,000			_____

$100,000-$250,000		_____

$250,000-$500,000		_____

$500,000-$1,000,000		_____

Over $1,000,000		______